## Dixon Test
Office of the Texas State Chemist
P. O. Box 3160, College Station, TX 77841-3160
Office phone # (979)845-1121, Fax # (979)845-1389
ANALYST: |  |  |  |  | The Dixon Outlier Test is used to find out if there is any outlier value in the set of results. The absolute difference is calculated for each data pair
and then these differences are ranked from smallest to largest. Both ends of the data are tested to see if one is an outlier. If an outlier is detected,
ANALYTE: |  |  |  |  | the data set can be retested for a second outlier. If two outliers are detected, the set should be discussed with a supervisor. After the outliers,
if any, have been identified, the average difference is calculated and a paired student t-test is performed excluding these outliers.
SET #:
NO. OF SAMPLES:
[8 empty] | The critical value for |  | 0 | data points is: |  | #N/A
Index |  |  |  | Difference |  | Ranked Differences
1 | [7 empty] | To test for a high end outlier use: |  |  |  |  | #N/A
2 | [7 empty] | The test value for the data point with the >diff is: |  |  |  |  | #N/A
3 | [7 empty] | Based upon this test, this result is: |  |  |  |  | #N/A
4
5 | [7 empty] | To test for a low end outlier use: |  |  |  |  | #N/A
6 | [7 empty] | The test value for the data point with the <diff is: |  |  |  |  | #VALUE!
7 | [7 empty] | Based upon this test, this result is: |  |  |  |  | #VALUE!
8
9 | [7 empty] | #N/A
10
11 | [7 empty] | The critical value for |  | #N/A | data points is: |  | #N/A
12
13 | [7 empty] | To test for a high end outlier use: |  |  |  |  | #N/A
14 | [7 empty] | The test value for the data pt. with the 2nd > diff is: |  |  |  |  | #N/A
15 | [7 empty] | Based upon this test, this result is: |  |  |  |  | #N/A
16
17 | [7 empty] | To test for a low end outlier use: |  |  |  |  | #VALUE!
18 | [7 empty] | The test value for the data pt. with 2nd least diff.is: |  |  |  |  | #VALUE!
19 | [7 empty] | Based upon this test, this result is: |  |  |  |  | #VALUE!
20
21 | [7 empty] | Sample # | #N/A | is | #N/A
22 | [7 empty] | Sample # | 0 | is | #VALUE!
23 | [7 empty] | #NUM! | #NUM! | #NUM! | #NUM!
24 | [7 empty] | #NUM! | #NUM! | #NUM! | #NUM!
25 | [7 empty] | #N/A
26 | [7 empty] | #N/A
27 | [7 empty] | Paired t-test (All Data): |  |  | P = | #DIV/0!
28 | [7 empty] | Mean Difference (All Data) = |  |  |  | #DIV/0!
29
30 | [7 empty] | #N/A |  |  | #N/A | #N/A
31 | [7 empty] | #N/A |  |  |  | #N/A
32
33 | [7 empty] | To qualify, the P value of the t-test must be greater than 0.05 indicating that there is no significant difference
34 | [7 empty] | between the data pairs and/or the mean difference must be < 2 times the standard deviation of the control data.
35
36 | [7 empty] | To Remove old data, run Macro "Clear_Old_Data" by pressing Control+Shift+C.
37
38 | [7 empty] | Signature:
39
40 | [7 empty] | Date:
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
Data Set with outliers removed for calculating t-test
Index | Sample # | Result 1 | Result 2 |  | Critical values for Dixon's Outlier Test (a)
[5 empty] | H | 5% | High End Outliers |  |  | Low End Outliers
[5 empty] | 3 | 0.97 | [z(H) - z(H-1)] / [z(H) - z(1)] |  |  | [z(2) - z(1)] / [z(H) - z(1)] |  |  | (b)
[5 empty] | 4 | 0.829 | [z(H) - z(H-1)] / [z(H) - z(1)] |  |  | [z(2) - z(1)] / [z(H) - z(1)]
[5 empty] | 5 | 0.71 | [z(H) - z(H-1)] / [z(H) - z(1)] |  |  | [z(2) - z(1)] / [z(H) - z(1)]
[5 empty] | 6 | 0.628 | [z(H) - z(H-1)] / [z(H) - z(1)] |  |  | [z(2) - z(1)] / [z(H) - z(1)]
[5 empty] | 7 | 0.569 | [z(H) - z(H-1)] / [z(H) - z(1)] |  |  | [z(2) - z(1)] / [z(H) - z(1)]
[5 empty] | 8 | 0.608 | [z(H) - z(H-1)] / [z(H) - z(2)] |  |  | [z(2) - z(1)] / [z(H-1) - z(1)]
[5 empty] | 9 | 0.564 | [z(H) - z(H-1)] / [z(H) - z(2)] |  |  | [z(2) - z(1)] / [z(H-1) - z(1)]
[5 empty] | 10 | 0.53 | [z(H) - z(H-1)] / [z(H) - z(2)] |  |  | [z(2) - z(1)] / [z(H-1) - z(1)]
[5 empty] | 11 | 0.502 | [z(H) - z(H-1)] / [z(H) - z(2)] |  |  | [z(2) - z(1)] / [z(H-1) - z(1)]
[5 empty] | 12 | 0.479 | [z(H) - z(H-1)] / [z(H) - z(2)] |  |  | [z(2) - z(1)] / [z(H-1) - z(1)]
[5 empty] | 13 | 0.611 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 14 | 0.586 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 15 | 0.565 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 16 | 0.546 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 17 | 0.529 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 18 | 0.514 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 19 | 0.501 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 20 | 0.489 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 21 | 0.478 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 22 | 0.468 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 23 | 0.459 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 24 | 0.451 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 25 | 0.443 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 26 | 0.436 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 27 | 0.429 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 28 | 0.423 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 29 | 0.417 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 30 | 0.412 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 31 | 0.407 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 32 | 0.402 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 33 | 0.397 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 34 | 0.393 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 35 | 0.388 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 36 | 0.384 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 37 | 0.381 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 38 | 0.377 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 39 | 0.374 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 40 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 41 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 42 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 43 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 44 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 45 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 46 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 47 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 48 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 49 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 50 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 51 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 52 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 53 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 54 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 55 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 56 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 57 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 58 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 59 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 60 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 61 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 62 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 63 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 64 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 65 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
[5 empty] | 66 | 0.371 | [z(H) - z(H-2)] / [z(H) - z(3)] |  |  | [z(3) - z(1)] / [z(H-2) - z(1)]
|  |  |  | (a) | This is R. S. Gardner's version of Dixon's test as published in Table 16
(Davis, F. A., & Maxfield, M. W> (1960) Statistical Manual, Dover
Publications, Mineola, NY) and in International Orgainzation for Standardization,
document ISO 5725-1981. This version applies when it is not known at which
end of a series of data an outlier may occur.
|  |  |  | (b) | z(h),h = 1, 2, ..., H, is the series of data to be tested arranged in order of magnitude